## Guides
slug | tag | title | body | order | is_active
solar-price-faridabad | Costs | Rooftop solar price in Faridabad 2026 — full cost breakdown | A 3 kW rooftop solar system in Faridabad costs roughly Rs 1.8 lakh to Rs 2.2 lakh before subsidy. After the central PM Surya Ghar subsidy of Rs 78,000, most Faridabad homeowners pay somewhere between Rs 1 lakh and Rs 1.4 lakh out of pocket. That is the number to hold in your head when a salesperson quotes you. Faridabad falls under Dakshin Haryana Bijli Vitran Nigam, DHBVN, and your net metering is governed by the Haryana Electricity Regulatory Commission. Your electricity bill will tell you which DISCOM serves you, and that matters because the application process runs through them. What the money buys. Roughly half the system cost is the panels. Current standard modules are 550W to 590W monocrystalline PERC, so a 3 kW system is five or six panels. The inverter is the next largest item at fifteen to twenty per cent. The remainder covers mounting structure, DC and AC cabling, earthing, protection devices, labour, and the DISCOM paperwork your installer files. If your roof needs elevated mounting to clear a water tank or parapet shadow, structure cost rises noticeably. The subsidy position in Haryana is genuinely unclear, and you should know that before you plan your budget. The central subsidy is certain: Rs 30,000 per kW for the first 2 kW plus Rs 18,000 for the third, capping at Rs 78,000 for any system of 3 kW or more. Whether Haryana adds a state top-up on top is where sources disagree. Some list a state component of around Rs 10,000 per kW capped near Rs 20,000, others state plainly that Haryana currently offers nothing beyond the central amount. We are not going to guess on your behalf. Call DHBVN or check hareda.gov.in before you assume a top-up exists, and treat any installer who promises one without evidence as someone to verify carefully. What Faridabad homes typically need. A monthly bill of Rs 2,000 to Rs 4,000 points to a 2 to 3 kW system for most households. Above Rs 5,000 a month you are looking at 5 kW or more, but note that the subsidy caps at 3 kW, so the extra capacity is paid entirely by you at full price. This is why 3 kW is the most common residential size across NCR. Roof space. Budget 80 to 100 square feet of genuinely shadow-free roof per kW. A 3 kW system therefore wants 250 to 300 square feet of clear terrace. Count only area that stays sunlit through the middle of the day. Space that falls into shadow by two in the afternoon is not usable, whatever an eager installer tells you. Two conditions that decide whether you get paid. Your installer must be registered on the PM Surya Ghar national portal, and the panels must meet domestic content requirements. Buying modules from a local shop and arranging your own fitting means zero subsidy regardless of workmanship quality. Get the panel make, model and DCR compliance written into the quotation. What it saves. A 3 kW system in Faridabad generates around 350 to 400 units a month averaged across the year, which on a typical tariff means roughly Rs 2,800 to Rs 3,200 off the monthly bill. Payback after subsidy usually lands between three and five years. Panels carry twenty-five year performance warranties, so the remaining two decades are effectively free power minus one inverter replacement around year ten to twelve. Run our solar calculator with your own bill before you take a single quote. Knowing roughly what you need before the conversation starts is the best protection against being sold a larger system than your roof or your consumption justifies. | 1 | FALSE
solar-price-gurugram | Costs | Rooftop solar price in Gurugram 2026 — and one thing to check first | A 3 kW rooftop solar system in Gurugram costs roughly Rs 1.8 lakh to Rs 2.2 lakh before subsidy, and around Rs 1 lakh to Rs 1.4 lakh after the central PM Surya Ghar subsidy of Rs 78,000. Gurugram has a competitive installer market, which is good for price, and one local complication that catches a lot of residents out. Check who actually supplies your electricity. Gurugram falls under DHBVN, but in many private developer townships and gated communities, power is supplied through a private management company rather than directly by the DISCOM. If your electricity bill does not come from DHBVN itself, the standard net metering route may not apply to you in the usual way. Ask your society management or maintenance office how rooftop solar applications are handled for your specific arrangement before you collect quotes. This single question can change your timeline by months. The cost breakdown. Panels account for roughly half the total. Standard modules now run 550W to 590W monocrystalline PERC, so 3 kW is five or six panels. Inverter is fifteen to twenty per cent. The rest is structure, cabling, earthing, protection devices, labour and paperwork. High-rise and villa installations in Gurugram often need more elaborate mounting, which pushes structure cost above the NCR average. Subsidy. The central amount is fixed and certain: Rs 30,000 per kW for the first 2 kW, plus Rs 18,000 for the third kW, capped at Rs 78,000 for 3 kW and above. A 5 kW system receives exactly the same Rs 78,000 as a 3 kW one. Whether Haryana adds a state top-up is disputed between sources, so confirm directly with DHBVN or HAREDA rather than relying on an installer's claim. Apartment and society solar. If you live in a flat rather than an independent house, your route is usually through the RWA rather than individually, since the roof is common property. Group housing societies and RWAs have their own provision under the scheme, at around Rs 18,000 per kW for common facilities, covering fairly large capacities. This is worth raising at your next RWA meeting, because a society-scale system on common load is often an easier win than persuading a builder to allocate individual roof rights. Sizing. A Rs 3,000 monthly bill points to roughly 3 kW. Budget 80 to 100 square feet of shadow-free roof per kW, so 250 to 300 square feet for 3 kW. In Gurugram's taller developments, shading from adjacent towers is the most common reason a roof that looks fine turns out not to be. Stand on it at ten in the morning, at noon and at three in the afternoon before committing. The two conditions that decide your subsidy. The installer must be registered on the PM Surya Ghar national portal, and panels must be DCR-compliant. Neither is negotiable, and both are easy to verify in writing before you sign. Payback in Gurugram typically runs three to five years after subsidy, with panels warranted for twenty-five years. Use our solar calculator to get your own numbers first, then compare at least two registered installers. Gurugram's competitive market works in your favour only if you actually collect more than one quote. | 2 | FALSE
solar-price-noida-ghaziabad | Costs | Rooftop solar price in Noida and Ghaziabad 2026 — with the UP subsidy | A 3 kW rooftop solar system in Noida or Ghaziabad costs roughly Rs 1.8 lakh to Rs 2.2 lakh before subsidy. Here is the good news that many residents miss: Uttar Pradesh adds a state subsidy on top of the central one, which can bring your net cost down to well under Rs 1 lakh. The subsidy stack. The central PM Surya Ghar subsidy pays Rs 30,000 per kW for the first 2 kW plus Rs 18,000 for the third, capping at Rs 78,000. On top of that, UPNEDA provides roughly Rs 15,000 per kW capped at around Rs 30,000 per consumer. Combined, a 3 kW system in Noida or Ghaziabad can attract close to Rs 1.08 lakh in total subsidy. On a Rs 2 lakh system that is more than half the cost covered. That makes UP one of the better states in India for residential rooftop solar economics, and it is the single most important fact for a Noida or Ghaziabad homeowner to know before they start collecting quotes. How the process runs. Your application goes through the national portal at pmsuryaghar.gov.in, and locally through UPNEDA and your DISCOM. Net metering in UP is allowed up to your sanctioned load, with monthly settlement and an annual true-up. Your sanctioned load is printed on your electricity bill, and a system substantially larger than it can run into approval trouble, so check this early. What you are paying for. Panels are roughly half the cost, currently 550W to 590W monocrystalline PERC modules, so 3 kW is five or six panels. The inverter is fifteen to twenty per cent. The rest covers structure, cabling, earthing, protection, labour and paperwork. Elevated mounting to clear a water tank adds to structure cost. Sizing for your bill. Divide your monthly bill by your tariff to get units, divide by thirty for daily units, then by about 3.6 for the kW you need. A Rs 3,000 bill typically points to around 3 kW. Since the central subsidy caps at 3 kW and the UP top-up caps around the same point, 3 kW is the economic sweet spot for most households here. Roof space. Allow 80 to 100 square feet of clear, shadow-free roof per kW, so 250 to 300 square feet for a 3 kW system. Many Noida sectors have generous independent-house terraces, which helps. In apartment blocks the roof is common property and the route is usually through the RWA under the group housing provision. Non-negotiable conditions. The installer must be registered on the PM Surya Ghar portal, and the panels must be DCR-compliant. Fail either and you receive nothing, however good the installation. Get both confirmed in writing on the quotation. Timing. Subsidy is credited by direct bank transfer typically thirty to forty-five days after the DISCOM inspects and commissions your system. It does not arrive upfront, so plan your cash flow accordingly, or use the collateral-free loan of up to Rs 2 lakh at around seven per cent available through public sector banks. Run our solar calculator with your own bill, then take those numbers to two registered installers. With the UP top-up in play, the arithmetic here is more favourable than almost anywhere else in NCR. | 3 | FALSE
solar-system-size-price-comparison | Costs | 1kW, 2kW, 3kW or 5kW solar — which size is actually worth it | The short version: 3 kW is the sweet spot for most Indian homes, and the reason is entirely about how the subsidy is structured rather than anything technical. Here is what each size costs and receives. A 1 kW system runs roughly Rs 60,000 to Rs 70,000 and attracts Rs 30,000 in central subsidy. A 2 kW system costs around Rs 1.2 lakh to Rs 1.4 lakh and attracts Rs 60,000. A 3 kW system costs roughly Rs 1.8 lakh to Rs 2.2 lakh and attracts the maximum Rs 78,000. A 5 kW system costs around Rs 3 lakh to Rs 3.5 lakh and attracts exactly Rs 78,000, the same as the 3 kW. Read that last line again, because it is the whole argument. The central subsidy is capacity-based and hard-capped. You receive Rs 30,000 per kW for the first two kilowatts, an extra Rs 18,000 for the third, and nothing at all beyond that. Every kilowatt above 3 kW is paid by you at full price. Which means the effective cost per kilowatt rises sharply as you go bigger. On a 2 kW system the subsidy covers close to half the cost. On a 3 kW system it covers roughly forty per cent. On a 5 kW system it covers around a quarter. The panels are not more expensive, but your share of them is. So when does a larger system still make sense? If your consumption genuinely justifies it. Someone running multiple air conditioners with a Rs 8,000 monthly bill will still save money with 5 kW, just with a longer payback on the unsubsidised portion. Solar remains a good investment above 3 kW, it simply stops being a spectacular one. Sizing to your bill rather than your ambition. Divide your monthly bill by your tariff for units, divide by thirty for daily units, divide by roughly 3.6 for kW. A Rs 1,500 bill suggests around 1.5 kW. Rs 3,000 suggests 3 kW. Rs 5,000 suggests around 5 kW. These are conversation starters, not final answers, because your roof and usage pattern both matter. Two constraints that may decide it for you regardless. Roof area, at 80 to 100 square feet per kW, means a 5 kW system wants 400 to 500 square feet of genuinely shadow-free terrace, which many homes do not have. And sanctioned load, printed on your bill, generally caps what net metering will approve. State top-ups shift the maths. In Delhi and in Uttar Pradesh, state subsidies stack on the central amount and typically also cap around the 3 kW mark. That reinforces rather than changes the conclusion: 3 kW is where the incentives peak. One genuine consideration for going larger. If you are likely to buy an electric vehicle or add air conditioning in the next few years, your consumption will rise and a system sized purely on today's bill will end up undersized. Solar is a twenty-five year asset. Weigh that against the subsidy cliff and decide deliberately rather than by default. Our solar calculator sizes a system from your actual bill and shows the subsidy and payback at that size. Run it before anyone visits your roof. | 4 | FALSE
pm-surya-ghar-eligibility | Subsidy | Are you eligible for the PM Surya Ghar subsidy? A plain checklist | Most Indian homeowners qualify for the PM Surya Ghar subsidy, but a meaningful number of applications fail on conditions that were entirely checkable beforehand. Here is the honest checklist, in the order it matters. You must be a residential consumer. The scheme is for homes. A commercial connection does not qualify, even if you live at the property. Check what category your electricity connection is registered under, which is printed on your bill. You must own the roof or have rights to it. For an independent house this is straightforward. For a builder floor it depends on whether terrace rights were sold with your unit. For an apartment, the roof is common property and the route is through your RWA under the group housing provision rather than individually. One subsidy per connection and per address. If a previous owner claimed the subsidy on your property, you generally cannot claim again on the same connection. Adding capacity later at the same address usually will not qualify for a second payment either. A genuinely different property in a different name can qualify separately. Your system must be grid-connected with net metering. Off-grid systems are explicitly excluded from the scheme. If a salesperson offers you a battery-based off-grid setup and implies the subsidy still applies, that is wrong and it is worth ending the conversation there. Your installer must be registered on the national portal. This is the condition that disqualifies the most people. Buying panels from a shop and arranging your own installation, however skilled the electrician, means you receive nothing. Ask any prospective installer for their portal registration and verify it rather than accepting a verbal assurance. Your panels must meet domestic content requirements. DCR-compliant modules are mandatory. A quote using cheaper imported panels may look attractive and will cost you the entire subsidy. Get the exact make, model and DCR status written on the quotation. You need feasibility approval before installing. Your DISCOM checks whether your connection can support the system. This normally takes one week to a month. Installing first and applying afterwards is one of the more expensive mistakes available under this scheme. Your bank account must be Aadhaar-linked and in your name. The subsidy is paid by direct benefit transfer. If the account name does not match the applicant, payment stalls. What you will need to hand when you apply. Your electricity consumer number from your bill, your mobile number, Aadhaar, and bank details. Registration is at pmsuryaghar.gov.in and there is a toll-free helpline on 15555. What the subsidy is worth if you qualify. Rs 30,000 per kW for the first 2 kW, plus Rs 18,000 for the third, capping at Rs 78,000 for systems of 3 kW and above. Delhi and Uttar Pradesh add state top-ups that can take the total past Rs 1 lakh. Haryana's position is disputed between sources, so confirm with UHBVN or DHBVN directly. What is not covered. Batteries are not subsidised at all. Replacing an existing solar system on the same connection does not qualify for a second payment. If every line above checks out, you are eligible. Read our step-by-step application guide next, and run the solar calculator so you know what size you are applying for before you speak to anyone. | 5 | FALSE
pm-surya-ghar-rejection-reasons | Subsidy | Why PM Surya Ghar applications get rejected — and how to avoid it | The PM Surya Ghar subsidy is not difficult to obtain, but a significant share of applications are delayed or refused. Almost every reason is avoidable and almost every one is checkable before you spend money. Here they are, roughly in order of how often they bite. Using an installer who is not registered on the national portal. This is the big one. The scheme pays subsidy only for systems installed by vendors registered at pmsuryaghar.gov.in. Buying panels yourself, or hiring a competent local electrician who is not on the portal, means you get nothing at all. The installation may be perfect. It does not matter. Ask for the registration and verify it yourself before signing. Panels that are not DCR-compliant. Domestic content requirements are mandatory under the scheme. Imported modules are often cheaper and some installers quote them without flagging the consequence. You lose the entire subsidy, which dwarfs whatever you saved on the panels. Insist the exact make, model and DCR status appear in writing on your quotation. Installing before feasibility approval. Your DISCOM must approve feasibility before installation, not after. People who install first and apply later frequently find themselves outside the scheme entirely. Feasibility typically takes one week to a month, so build that into your timeline rather than trying to shortcut it. Applying on a commercial connection. The scheme is residential only. If your connection is registered as commercial, even for a property you live in, it does not qualify. Check the category on your bill before applying. A previous claim on the same address. It is one subsidy per connection. If a former owner claimed it, you generally cannot claim again. Adding capacity later at the same address usually will not attract a second payment either. Off-grid or battery-only systems. These are explicitly excluded. The system must be grid-connected with net metering to qualify. Anyone selling you an off-grid setup while promising the subsidy is either mistaken or misleading you. Bank account mismatches. The subsidy arrives by direct benefit transfer to an Aadhaar-linked account. If the account is not in the applicant's name, or the Aadhaar link is incomplete, payment stalls even when everything else is approved. Fix this before applying rather than chasing it afterwards. Sanctioned load problems. Net metering is generally allowed up to your sanctioned load. A system substantially larger than your connection can run into approval difficulty. Your sanctioned load is on your bill. If you are planning something large relative to it, raise this with your DISCOM early. Incomplete or mismatched documents. Names that differ between your electricity bill, Aadhaar and bank account cause delays that are tedious to unwind. Check all three match before you start. If your application has been rejected. The portal has application tracking, and the helpline on 15555 can usually tell you what the specific obstacle is. Many rejections are fixable, particularly document mismatches. Rejections for an unregistered installer or non-DCR panels generally are not, which is exactly why those two are worth verifying before any money changes hands. The pattern in all of this is simple. Almost nothing here goes wrong at the end. It goes wrong at the beginning, in the choice of installer and the choice of panels, and only becomes visible months later when the money does not arrive. | 6 | FALSE
pm-surya-ghar-subsidy-timeline | Subsidy | How long the PM Surya Ghar subsidy actually takes to arrive | The subsidy is credited to your bank account typically thirty to forty-five days after your DISCOM inspects and commissions the system. That is the answer most people are looking for. But the full journey from first application to money in hand is considerably longer, and knowing the real shape of it prevents a lot of anxiety. Here is the sequence, with realistic timings. Registration on the national portal is immediate. You create an account at pmsuryaghar.gov.in with your consumer number, mobile, Aadhaar and bank details. Feasibility approval from your DISCOM takes roughly one week to a month. This varies by state and by how complete your documents are. Additional site inspection or document corrections can extend it. This step must happen before installation, not after. Choosing an installer and scheduling work is on your timeline, not the government's. Getting two or three quotes from portal-registered vendors is worth the extra week or two it adds. Installation itself is usually one to three days for a typical residential system. The physical work is the fastest part of the entire process, which surprises people. Net metering application and meter installation is often where the real wait sits. Your installer files the application and the DISCOM schedules the meter change. This can take several weeks depending on local workload. DISCOM inspection and commissioning follows. An official inspects the installation and, if satisfied, commissions it. The inspection report is then uploaded to the portal. Nothing moves financially until this upload happens. Subsidy credit arrives roughly thirty to forty-five days after that upload, by direct benefit transfer to your Aadhaar-linked account. Adding it up, a realistic end-to-end timeline is two to four months from first registration to subsidy in your account, with most of the variability sitting in DISCOM processing rather than anything you control. The cash flow implication matters. The subsidy arrives after commissioning, not upfront. You will generally need to fund the full system cost first and receive the subsidy afterwards. Some installers offer arrangements around this and some banks structure loans accordingly, but do not assume it. Ask explicitly how subsidy timing is handled in your case before signing, because assuming it will offset your first payment can leave you short by a lakh or more. If financing helps, there is a collateral-free loan facility of up to Rs 2 lakh at around seven per cent through several public sector banks. On a Rs 1.3 lakh loan over five years the EMI is roughly Rs 2,600 a month, which for many households is less than the electricity bill the system replaces. If it has been considerably longer than forty-five days since commissioning. The portal has application tracking, and the toll-free helpline on 15555 can tell you where the file is stuck. The most common causes of delay at this final stage are bank account name mismatches and Aadhaar linking problems, both of which are worth checking proactively rather than waiting. One thing worth doing at the start. Confirm with your installer, in writing, which steps they handle and which are yours. Feasibility application, net metering liaison and commissioning coordination are sometimes excluded from a quotation, and discovering that halfway through adds weeks. | 7 | FALSE
delhi-solar-subsidy-state-top-up | Subsidy | Delhi's extra solar subsidy — the ₹30,000 many people miss | If you live in Delhi and are looking at rooftop solar, the number you have probably seen quoted is Rs 78,000. That is only the central subsidy. Delhi adds its own state subsidy on top, which for a 3 kW system takes the total to roughly Rs 1.08 lakh. On a system costing around Rs 2 lakh, that is more than half the cost covered. It changes the arithmetic substantially, and a surprising number of Delhi homeowners plan their budget without knowing it exists. How the two stack. The central PM Surya Ghar subsidy pays Rs 30,000 per kW for the first 2 kW, plus Rs 18,000 for the third kilowatt, capping at Rs 78,000 for any system of 3 kW or above. The Delhi state subsidy adds approximately Rs 30,000 for 3 kW systems. Both are aimed at the same residential rooftop installations, and you apply through the same route. There is also mention in some sources of a generation-based incentive in Delhi, paid per unit generated for smaller systems, which over several years can add a further meaningful amount. Incentive structures of this kind are periodically revised, so confirm the current position with your DISCOM rather than relying on any figure quoted online, including this one. What this does to your payback. A 3 kW system in Delhi costing Rs 2 lakh, less Rs 1.08 lakh in combined subsidy, leaves roughly Rs 92,000 net. Against monthly savings of around Rs 2,800 to Rs 3,200, payback lands closer to two and a half to three years rather than the three to five typical elsewhere. For a twenty-five year asset, that is an unusually good return. The conditions still apply. The state top-up does not relax any of the central requirements. Your installer must be registered on the PM Surya Ghar national portal, your panels must be DCR-compliant, you need feasibility approval before installing, the system must be grid-connected with net metering, and it is one subsidy per connection. Fail any of those and you lose both the central and the state amount. How to make sure you actually get it. Raise the state subsidy explicitly with your installer at quotation stage and ask how they handle the application for it. Some quotes are prepared assuming only the central amount, which understates your position. Confirm with your DISCOM what the current Delhi state subsidy is and what documentation it requires, because this is the piece most likely to be handled sloppily. Where the money lands. As with the central subsidy, payment is by direct benefit transfer to your Aadhaar-linked bank account, following DISCOM inspection and commissioning. Expect roughly thirty to forty-five days after commissioning for the central portion. One honest caution. State subsidy schemes are more changeable than the central one. Budgets get revised, caps get adjusted, and schemes occasionally pause. Everything here reflects the position in mid-2026. Verify before you commit money, and be wary of any installer whose quotation depends heavily on a state incentive they cannot document. Run our solar calculator to see your system size and central subsidy, then add the Delhi top-up to that figure when you plan your budget. | 8 | FALSE
upneda-solar-subsidy-noida-ghaziabad | Subsidy | UPNEDA solar subsidy for Noida and Ghaziabad — how to claim it | Uttar Pradesh adds a state solar subsidy on top of the central PM Surya Ghar amount, and for Noida and Ghaziabad homeowners it is worth up to around Rs 30,000. Combined with the central Rs 78,000, a 3 kW system can attract close to Rs 1.08 lakh in total support. The UP state component is administered by UPNEDA, the Uttar Pradesh New and Renewable Energy Development Agency, at roughly Rs 15,000 per kW capped at about Rs 30,000 per consumer. Because the cap is reached at 2 kW, and the central subsidy caps at 3 kW, a 3 kW system is where the combined incentives peak. What this does to the cost. A 3 kW system costing around Rs 2 lakh, less Rs 1.08 lakh in combined subsidy, leaves you paying roughly Rs 92,000. Against typical monthly savings of Rs 2,800 to Rs 3,200, that is a payback of under three years on a twenty-five year asset. Uttar Pradesh is one of the better states in the country for residential rooftop economics as a result. How the application runs. Registration is on the central portal at pmsuryaghar.gov.in, with the state component administered through UPNEDA and coordinated with your local DISCOM. You do not run two entirely separate processes, but you should confirm explicitly with your installer that the state claim is being filed, because it is sometimes overlooked when a vendor is used to working in states without a top-up. Net metering in UP. Net metering is allowed up to your sanctioned load, with monthly settlement and an annual true-up under the state solar policy. Your sanctioned load is printed on your electricity bill. A system substantially larger than your sanctioned load can hit approval problems, so check this before finalising system size. The conditions that still apply. The state top-up does not relax any central requirement. Your installer must be registered on the national portal. Panels must be DCR-compliant. Feasibility approval must come before installation. The system must be grid-connected, since off-grid is excluded. It is one subsidy per connection and per address. Failing any of these costs you both the central and state amounts. Sizing for the incentives. Divide your monthly bill by your tariff to get units, then by thirty for daily units, then by roughly 3.6 for kW. A Rs 3,000 monthly bill points to about 3 kW, which happens to be exactly where the subsidies cap. That alignment is convenient for most households and is why 3 kW dominates residential installations here. Roof requirement. Allow 80 to 100 square feet of shadow-free roof per kW, so 250 to 300 square feet for 3 kW. Independent houses across Noida's sectors generally have adequate terrace. In apartment blocks the roof is common property and the route runs through the RWA under the group housing provision, at around Rs 18,000 per kW for common facilities. Timing and cash flow. Central subsidy is credited by direct transfer roughly thirty to forty-five days after DISCOM inspection and commissioning. It arrives after you have paid, not before. If that is a problem, the collateral-free loan of up to Rs 2 lakh at around seven per cent through public sector banks is worth investigating. State schemes change more often than central ones. Confirm the current UPNEDA position before committing money, and treat any installer who cannot explain the state claim process as a reason to get another quote. | 9 | FALSE
haryana-solar-subsidy-truth | Subsidy | Haryana solar subsidy — what UHBVN and DHBVN actually offer | We are going to be straight with you about this one, because the honest answer is that sources disagree and we are not willing to guess with your money. The central subsidy is certain. Under PM Surya Ghar you receive Rs 30,000 per kW for the first 2 kW, plus Rs 18,000 for the third kilowatt, capping at Rs 78,000 for any system of 3 kW or larger. That applies in Faridabad, Gurugram and everywhere else in Haryana exactly as it does across India. The state top-up is where it gets murky. Some sources list a Haryana state component of around Rs 10,000 per kW capped near Rs 20,000. Others state plainly that Haryana currently offers no additional state subsidy beyond the central amount. Both positions appear in recent material. We have not been able to establish which is currently correct, and rather than pick the more flattering number and hope, we would rather tell you to check. How to actually find out. Confirm your DISCOM from your electricity bill, which will be either Uttar Haryana Bijli Vitran Nigam or Dakshin Haryana Bijli Vitran Nigam. Faridabad and Gurugram generally fall under DHBVN. Contact them directly, and check hareda.gov.in, the Haryana Renewable Energy Development Agency site. Ask specifically whether a state top-up is currently active, what the per-kW amount and cap are, and what documentation the claim requires. Why this matters practically. A Rs 20,000 difference is not trivial on a Rs 2 lakh purchase, and it is exactly the sort of figure an installer might quote optimistically to make their proposal look better. If a quotation depends on a state subsidy, ask the installer to document it. A vendor who cannot point you to the scheme in writing is quoting from hearsay. What Haryana does have going for it regardless. Both UHBVN and DHBVN operate under the same regulatory framework for net metering, set by the Haryana Electricity Regulatory Commission. Surplus generation is exported and credited against consumption, monthly credits carry forward, and remaining surplus at annual settlement is compensated at a rate the commission sets. That settlement rate is typically lower than the retail tariff you pay, which is a good reason not to grossly oversize your system. Gurugram has one local quirk worth knowing. In some private developer townships and gated communities, electricity comes through a private management company rather than directly from the DISCOM. If your bill does not come from UHBVN or DHBVN, the standard net metering route may work differently for you. Ask your society management before collecting quotes. The installer market in Faridabad and Gurugram is genuinely competitive, and DHBVN processing is reasonably efficient by national standards. That competitiveness is worth more to you than a marginal state subsidy, provided you actually collect two or three quotes rather than accepting the first. Whatever the state position, the central conditions are unchanged. Portal-registered installer, DCR-compliant panels, feasibility approval before installation, grid-connected with net metering, one subsidy per connection. Get all of that right and the Rs 78,000 is yours regardless of how the state question resolves. Start at pmsuryaghar.gov.in, confirm your DISCOM from your bill, and submit feasibility before approaching any installer. | 10 | FALSE
how-to-choose-solar-installer | Buying | How to choose a solar installer — 12 questions to ask first | The installer you choose matters more than the panel brand. A good installer on average panels beats a careless one on premium panels every time, because most solar problems are installation problems. Here are the questions worth asking before you sign anything, and what a good answer sounds like. Are you registered on the PM Surya Ghar national portal? This is not optional. If they are not registered, you receive no subsidy at all regardless of installation quality. Ask them to show you the registration rather than accepting a verbal yes. What is the exact make and model of the panels, and are they DCR-compliant? Domestic content requirements are mandatory for the subsidy. Get make, model and DCR status written into the quotation. A vague answer here is the single biggest warning sign in the entire conversation. What inverter are you using, and what is its warranty? The inverter is the component most likely to fail or need replacement, typically around year ten to twelve. Panel warranties run twenty-five years; inverter warranties commonly run five to ten. Know which you are getting. Is the DISCOM feasibility application included in your scope? It must happen before installation. Some quotations quietly exclude it. Is net metering liaison included? This is the other commonly excluded item, and it is the step where most of the waiting happens. Get it in writing. What structure are you using, and will it need elevated mounting? If your roof has a water tank or parapet casting shade, elevated mounting adds real cost. Better to know now than as a change order later. Have you done a physical site survey? Any installer quoting a firm price without visiting your roof is guessing. A real survey checks shading through the day, roof structure, cable routing and meter location. What generation should I expect, monthly, across a year? A good installer will give you a range and acknowledge seasonal variation. Anyone quoting a single flat number all year round either does not know or is overselling. What is your workmanship warranty, separate from the manufacturer warranties? Ask what it covers and for how long. Do you offer an annual maintenance contract, and what does it include? Compare this across quotes, since maintenance costs over twenty-five years are not trivial. Who handles the subsidy claim paperwork, and when do I pay? Understand that the subsidy arrives after commissioning, typically thirty to forty-five days later, not upfront. Clarify how that affects your payment schedule. Can I speak to two customers you installed for in my area? Recent, local, and ideally with systems at least a year old so they can speak to actual generation rather than first impressions. Two red flags that should end a conversation. Pressure to sign today for a price that expires. And any promise of a subsidy amount they cannot document, particularly state top-ups in Haryana where the position is genuinely unclear. One practical suggestion. Collect three quotes, and do not simply pick the cheapest. Lay them side by side on panel model, inverter model, warranty terms, and what is included in scope. Two quotes differing by Rs 40,000 are often quoting genuinely different products, and the cheaper one sometimes excludes the paperwork that makes your subsidy possible. | 11 | FALSE
dcr-vs-non-dcr-panels | Buying | DCR vs non-DCR solar panels — the choice that decides your subsidy | DCR stands for Domestic Content Requirement. In practice it means panels manufactured in India to specified criteria. Under PM Surya Ghar, DCR-compliant modules are mandatory for the subsidy. Use non-DCR panels and you receive nothing, however good the installation. That single sentence is the entire practical importance of this topic, and it is why we are dedicating a guide to something that sounds like a technicality. Why installers sometimes quote non-DCR anyway. Imported modules are frequently cheaper, sometimes noticeably so. A quotation using them looks more competitive on the bottom line. If the installer does not flag the subsidy consequence, and the buyer does not know to ask, the saving of perhaps Rs 15,000 on panels costs Rs 78,000 in lost subsidy. That is not a hypothetical; it is one of the more common ways people lose money on this scheme. Is there a quality difference? This is where honesty matters. Indian manufacturing has improved substantially and DCR panels from established makers are perfectly good products. Some imported panels are excellent too. The point is not that DCR panels are better; it is that under this scheme they are the only ones that qualify. For a subsidised residential installation, the question of which performs marginally better is academic when one option forfeits Rs 78,000. What to actually check. Ask for the panel make and model in writing on the quotation, and ask specifically whether it is DCR-compliant. Reputable manufacturers publish this. If your installer is evasive, treat that as informative rather than as a minor administrative gap. What to watch for in the quotation. Vague descriptions like "high efficiency mono panels" without a make and model are a warning sign. So is a quotation that specifies a panel at the time of signing but includes language allowing substitution of "equivalent" modules later. Equivalent in wattage is not the same as equivalent in DCR status. Current panel specifications for context. Standard residential modules in 2026 run 550W to 590W, generally monocrystalline PERC. A 3 kW system is therefore five or six panels. Higher efficiency technologies exist and are becoming more common, but for subsidised residential work the practical choice set is DCR-compliant mono PERC from an established Indian manufacturer. The other conditions that travel with this one. Your installer must be registered on the PM Surya Ghar portal. Feasibility approval must come before installation. The system must be grid-connected with net metering, since off-grid is excluded. It is one subsidy per connection. DCR panels alone will not save you if any of those fail. If you are not claiming the subsidy at all. Perhaps you have already claimed on this connection, or you are installing on a commercial property. In that case DCR status genuinely does not matter and you should choose on price, warranty and manufacturer reputation like any other purchase. But be clear with yourself about which situation you are in before you let an installer talk you into imported panels. The summary is short. For any subsidised residential rooftop system in India, insist on DCR-compliant panels, get the make and model in writing, and verify rather than trust. | 12 | FALSE
solar-inverter-types | Basics | Solar inverter types explained — string, micro and hybrid | The inverter converts the direct current your panels produce into the alternating current your home uses. It is the brain of the system, the component most likely to need replacing during the system's life, and the item where quotations differ most while looking superficially similar. String inverters are the default for Indian residential rooftops. Your panels are wired in series into a string, and one inverter handles the lot. They are the cheapest option, well proven, and easy to service. Their limitation is that the string performs to its weakest panel: if one module is shaded, the whole string's output drops. On an unshaded terrace this rarely matters. On a roof with a water tank casting afternoon shadow, it matters a great deal. Microinverters attach to each panel individually. Because each module operates independently, shading on one panel does not drag down the others, and you get per-panel monitoring. The cost is higher, both upfront and because you now have several devices on the roof rather than one accessible unit at ground level. For a genuinely partially-shaded roof they can be worth it. For a clear terrace they usually are not. Power optimisers sit between the two approaches. Each panel gets a small device that conditions its output, but a single central inverter still does the conversion. You get much of the shade tolerance of microinverters at lower cost, with the serviceable inverter still in an accessible place. Hybrid inverters can handle both grid connection and battery storage. This matters if you want backup during power cuts, because a standard grid-tied system shuts down when the grid goes down. That shutdown is deliberate and protects linemen working on what should be a dead line. If riding through cuts matters to you, a hybrid inverter plus battery is the route, and it is worth specifying the hybrid inverter at installation even if you add the battery later. Retrofitting is more expensive than planning for it. What to check on any quotation. The make and model, the warranty period, and whether it is rated appropriately for your system size. Inverter warranties commonly run five to ten years against twenty-five for panels, which tells you something about expected service life. Budget for a replacement somewhere around year ten to twelve rather than being surprised by it. Sizing. Your inverter capacity is usually specified slightly below or matching your panel capacity, because panels rarely produce their full rated output in real conditions. An installer who cannot explain their sizing choice is worth questioning. What most NCR homes actually need. A clear, unshaded terrace with a stable grid supply is well served by a good string inverter, and that is what the majority of quotations will offer. Consider optimisers or microinverters if shading is genuinely unavoidable. Consider a hybrid only if power cuts are a daily reality for you and you intend to add storage, remembering that batteries are not subsidised and cost Rs 70,000 to Rs 1.2 lakh separately. One practical note. The inverter needs a shaded, ventilated location. Mounting it in direct sun shortens its life. Ask where your installer intends to put it and why. | 13 | FALSE
net-metering-application-process | Basics | Net metering application — documents, steps and how long it takes | Net metering is what makes grid-connected solar pay. Your meter counts in both directions: solar you use directly reduces what you draw, and surplus you export is credited against what you import. At billing time you pay the net difference plus fixed charges. It is also mandatory for the PM Surya Ghar subsidy, since off-grid systems are explicitly excluded. Here is what the application actually involves. Step one, feasibility approval. Before anything is installed, your DISCOM checks whether your connection can support the system you want. This typically takes one week to a month. Installing first and applying afterwards is a serious and common mistake. Your installer normally files this, but confirm it is in their scope. Step two, installation by a portal-registered vendor. The physical work is usually one to three days. Step three, net metering application. Your installer applies for the bidirectional meter. This is generally where the longest wait sits, because it depends on DISCOM scheduling rather than anything you or your installer control. Step four, inspection and commissioning. A DISCOM official inspects the installation and, if satisfied, commissions it and installs or configures the net meter. The inspection report is then uploaded to the national portal, which is what triggers your subsidy. Documents you will generally need. Your electricity bill showing consumer number and sanctioned load, proof of ownership or occupancy, identity documents, the technical specification of the proposed system from your installer, and your Aadhaar-linked bank details for the subsidy. Your installer will usually assemble most of this, but names must match across your bill, Aadhaar and bank account or you will hit delays. The sanctioned load constraint. Net metering is generally allowed up to your sanctioned load, which is printed on your bill. A system substantially larger than your sanctioned connection can run into approval problems. If you are planning something large relative to it, raise this with your DISCOM early rather than discovering it after installation. How it differs across NCR. In Haryana, covering Faridabad and Gurugram, net metering falls under the Haryana Electricity Regulatory Commission and applies through UHBVN or DHBVN. Monthly surplus credits carry forward and any remaining surplus at annual settlement is compensated at a rate the commission sets, typically below the retail tariff you pay. In Uttar Pradesh, covering Noida and Ghaziabad, the process runs through UPNEDA and your DISCOM, with net metering allowed up to sanctioned load and an annual true-up. Delhi runs through its own DISCOMs. One Gurugram-specific issue. In some private developer townships, electricity is supplied by a private management company rather than the DISCOM directly. If your bill does not come from UHBVN or DHBVN, ask your society management how solar applications are handled for your arrangement before proceeding. What net metering does not do. It does not keep your lights on during a power cut. Grid-tied systems shut down automatically when the grid fails, by design, to protect linemen. Backup requires a hybrid inverter and a battery, neither of which is subsidised. Two things to get in writing before you sign. That net metering liaison is included in your installer's scope, and what happens if feasibility approval is refused. Both are commonly excluded and both cost you if assumed. | 14 | FALSE
solar-for-housing-society-rwa | Society | Solar for housing societies and RWAs — the ₹18,000 per kW route | If you live in a flat rather than an independent house, the roof is common property and you generally cannot install individually. The route is through your RWA or society, and there is a specific provision in the PM Surya Ghar scheme for exactly this. Group housing societies and resident welfare associations can claim around Rs 18,000 per kW for common facilities, covering capacities up to fairly large systems, including provision for EV charging infrastructure. This is a different structure from the individual residential subsidy and it applies to the society's common load rather than to individual flats. What common load actually means. Lifts, water pumps, corridor and staircase lighting, common area fans, the security cabin, the clubhouse, and increasingly EV charging points. In most NCR societies this is a substantial and predictable electricity bill paid from maintenance charges. Offsetting it with solar reduces what every resident pays monthly, which is why this proposal tends to pass more easily at an AGM than people expect. Why this is often the easier win. Persuading a builder to allocate individual terrace rights is difficult and frequently impossible. Persuading a committee that a system paying back in a few years will reduce maintenance charges is a straightforward financial argument, and one that benefits every resident rather than only those on the top floor. How to get it moving. Start by pulling the society's common area electricity bills for the last twelve months. That number, divided by your tariff, tells you the annual consumption a system would need to offset, and it is the single most persuasive slide in any presentation to the committee. Then get a site survey from two or three portal-registered installers who have done society-scale work, since this is meaningfully different from residential installation. Practical considerations specific to societies. Roof access and structural loading need proper assessment, particularly on older buildings. Cable routing from roof to the common meter can be substantial on a tall block. Who owns and maintains the system afterwards should be documented before installation, not afterwards. And if your society has multiple towers, whether to do one system or several affects both cost and complexity. The metering question. The system connects to the society's common connection, and net metering applies as it would for any other consumer, up to the sanctioned load of that connection. In Haryana this falls under HERC rules through UHBVN or DHBVN; in UP through UPNEDA and the local DISCOM. For Gurugram societies in particular. Many private townships receive electricity through a management company rather than directly from the DISCOM. This changes the net metering route and sometimes the eligibility position. Establish this before commissioning any survey work, because it determines whether the standard process applies at all. A realistic expectation on timeline. Society solar takes longer than residential, not because the technology differs but because committee approval, tendering and coordination add months. Budget six months from first proposal to commissioning rather than the two to four typical for a house. What individual flat owners can still do. If your society will not move, and your building has no allocated terrace rights, rooftop solar is genuinely not available to you. Solar water heating sometimes is, depending on your balcony or terrace access. And the other green upgrades on this site, particularly efficient appliances and cool roofing at society level, remain open. If you are on your society committee and want to explore this, our solar calculator will give you a first estimate from the common area bill. Take that number to the next meeting. | 15 | FALSE
roof-area-for-solar-kw | Sizing | How much roof area do you need for 3kW, 5kW or 10kW solar? | The working figure is 80 to 100 square feet of clear, shadow-free roof per kilowatt. That gives you a straightforward table. A 1 kW system needs roughly 80 to 100 square feet. A 2 kW system needs 160 to 200. A 3 kW system, the most common residential size in India, needs 250 to 300 square feet. A 5 kW system needs 400 to 500 square feet. A 10 kW system needs 800 to 1,000 square feet. Those numbers assume standard 550W to 590W monocrystalline panels laid out with the spacing installers actually use, which includes walkways for maintenance and clearance for tilt. The word doing the real work in that sentence is shadow-free. This is where most roofs fail, and it is the single most common reason a system underperforms its quotation. Area occupied by a water tank is not usable. Area that falls into shadow from a parapet wall by mid-afternoon is not usable. Area shaded by a neighbouring building for part of the day is partially usable at best. How to check this properly, and it takes one day. Stand on your terrace at ten in the morning, at noon, and at three in the afternoon. Note where shadows fall each time. The usable area is the part that is sunlit at all three. Do this in winter if you can, when the sun is lower and shadows are longest, because a roof that works in June may not in December. Why shading matters more than people expect. On a standard string inverter system, panels are wired in series, and the string performs to its weakest member. Shade on one panel drags down the output of the whole string, not just that panel. Microinverters or power optimisers mitigate this, at extra cost. It is cheaper to lay panels only where the sun actually reaches. Structure and access matter too. Your roof needs to carry the load, which for residential systems is modest but not nothing, particularly on older buildings or sheet roofs. There must be a route for cabling down to your meter. And there should be enough clearance around panels for someone to walk safely when cleaning, which in Delhi NCR happens more often than in cleaner-air cities. Elevated mounting as a solution. If your usable area is limited by a water tank or an obstruction, raising the structure above it can recover space. This adds meaningful cost and needs structural assessment, but on a constrained roof it is sometimes what makes the system viable. Working the other way, from roof to system. If you have 300 square feet of genuinely clear terrace, you are looking at roughly 3 kW, which conveniently is where the central subsidy caps. If you have 500 square feet you could fit 5 kW, but remember the subsidy still caps at Rs 78,000, so those extra two kilowatts are at full price. Sheet roofs and tin sheds. These can work with appropriate structure, but need more careful assessment for load and fixing method. Expect a higher structure cost and insist on a proper site survey. Our roof area tool converts your available space into installable capacity, and the solar calculator works the other way from your electricity bill. Running both gives you two independent estimates, and where they disagree tells you whether your roof or your consumption is the binding constraint. | 16 | FALSE
solar-panel-warranty-india | Buying | Solar panel warranty in India — what 25 years actually covers | Solar panels are sold with twenty-five year warranties, which sounds reassuring and is frequently misunderstood. There are actually two separate warranties on a panel, plus a third on your inverter, and knowing the difference tells you what you are really buying. The performance warranty is the twenty-five year one. It does not promise the panel will work for twenty-five years; it promises the panel will still produce at least a specified percentage of its rated output at various points. Typically something like ninety per cent at year ten and eighty to eighty-five per cent at year twenty-five, though exact figures vary by manufacturer. Panels degrade slowly, and this warranty covers degradation faster than the stated curve. The product warranty is much shorter, commonly ten to twelve years. This covers manufacturing defects, delamination, and physical failure. If a panel actually fails rather than merely underperforms, this is the warranty that applies. The inverter warranty is shorter still, commonly five to ten years. This matters because the inverter is the component most likely to need replacement during the system's life, typically somewhere around year ten to twelve. Budget for this replacement rather than treating it as an unexpected failure. A good installer will tell you this upfront; a poor one leaves you to discover it. Then there is the installer's own workmanship warranty, which is separate from all three manufacturer warranties and varies enormously. This covers the mounting, cabling, earthing and general quality of the installation. Ask what it covers and for how long, because in practice a substantial share of solar problems are installation problems rather than component failures. What warranties do not cover, generally. Damage from extreme weather beyond specified limits, damage from improper cleaning, and performance loss from soiling. That last one matters in Delhi NCR, where dust and pollution reduce output meaningfully between cleanings. A dirty panel producing less is not a warranty claim; it is a maintenance issue. How to actually claim. Warranty claims run through the manufacturer, usually via your installer. This is one practical reason to prefer an established installer likely to still exist in ten years, and an established panel manufacturer likely to still honour claims. A twenty-five year warranty from a company that closes in year four is worth nothing. What to check before signing. Get the panel make and model in writing, along with both the performance and product warranty terms. Get the inverter make, model and warranty. Get the installer's workmanship warranty in writing. And confirm the panels are DCR-compliant, since that decides your subsidy entirely. A realistic expectation of system life. Panels commonly outlast their warranty and continue producing at reduced output well beyond twenty-five years. One inverter replacement in that period is normal. Occasional cleaning is required, more often in NCR than elsewhere. Beyond that, a well-installed rooftop system is a genuinely low-maintenance asset, which is a large part of why the economics work. The summary. Twenty-five years refers to performance degradation, not to the whole system running untouched. Plan for an inverter replacement, budget for cleaning, and choose an installer and manufacturer who will plausibly still be around to honour what they have written. | 17 | FALSE
solar-power-cut-backup | Basics | What happens to rooftop solar during a power cut? | Your solar system shuts down. This surprises a lot of people, and it is worth understanding before you buy rather than during your first outage. A standard grid-connected system stops producing the moment the grid goes down, even in bright sunshine. This is deliberate and it is a safety requirement, not a fault. If your system kept exporting power into the local network during an outage, it would energise lines that linemen are working on believing them to be dead. Anti-islanding protection prevents that, and every compliant grid-tied inverter has it. So if you want power during cuts, you need more than panels. There are three arrangements. Grid-tied, which is what most people install. Cheapest, best payback, qualifies for the full subsidy, and produces nothing during an outage. For homes with reasonably stable supply, this is the right choice and the additional cost of backup is not justified. Hybrid, meaning a grid-tied system with a hybrid inverter and a battery. Critical loads continue running through a cut. The inverter is more expensive and the battery is a separate and substantial cost, typically Rs 70,000 to Rs 1.2 lakh for a 5 to 10 kWh pack. Crucially, batteries are not subsidised under PM Surya Ghar at all. The subsidy applies to the solar system; storage is entirely out of pocket. Off-grid, meaning batteries carry your whole load with no grid connection. This is for farms and remote sites. It is explicitly excluded from the PM Surya Ghar scheme, and it is the most expensive way to power a house that already has a connection. If someone is selling you off-grid while promising the subsidy, they are wrong. What about my existing inverter battery? Many Indian homes already have an inverter and battery for cuts. That system and a grid-tied solar system solve different problems and can coexist: the solar reduces your bill, the inverter handles outages. Plenty of NCR households keep exactly this arrangement, and it is often the most economical answer if you already own the inverter. What you cannot do is assume the solar will charge that battery unless the system was designed for it. If you decide you want backup. Specify a hybrid inverter at installation even if you intend to add the battery later. Retrofitting a hybrid inverter afterwards costs considerably more than choosing one at the outset. And size the battery to your genuinely critical loads, meaning lights, fans, router and perhaps a fridge, rather than to your whole house. Sizing for everything is how battery costs spiral. The honest recommendation for most NCR homes. If your supply is reasonably stable, install grid-tied, take the full subsidy, and enjoy the shortest payback. If cuts are a daily reality, a hybrid system is genuinely transformative, but go in knowing the battery is unsubsidised and will lengthen your payback considerably. One thing worth checking on any quotation. Ask explicitly whether the inverter being quoted is grid-tied only or hybrid-capable. The price difference is not enormous at purchase and it preserves your options. | 18 | FALSE
off-grid-solar-cost-india | Honesty | Off-grid solar cost — and why most NCR homes should not buy it | Off-grid solar means batteries carry your entire load with no grid connection at all. It is a legitimate technology for the right situation, and for almost every home in Delhi NCR that already has an electricity connection, it is the wrong choice. Here is the honest arithmetic. The disqualifying fact first. Off-grid systems are explicitly excluded from the PM Surya Ghar subsidy. Grid connection with net metering is a condition of the scheme. So choosing off-grid means forfeiting Rs 78,000 in central subsidy, plus any state top-up, before you have compared anything else. Then the cost structure. A grid-tied 3 kW system runs roughly Rs 1.8 lakh to Rs 2.2 lakh, less Rs 78,000 subsidy. An off-grid system of the same generating capacity needs a battery bank large enough to carry your household through nights and cloudy days, which adds substantially. A 5 to 10 kWh battery alone is Rs 70,000 to Rs 1.2 lakh, and a genuinely off-grid home typically needs more than that. You are looking at roughly double the net cost for the same generation, with no subsidy. And the batteries do not last twenty-five years. Panels do. Lithium packs commonly last eight to twelve years, so an off-grid system carries a large replacement cost partway through its life that a grid-tied system simply does not have. Meanwhile, what does the grid actually do for you? With net metering, surplus you generate is exported and credited against what you import. The grid is functioning as an enormous, free, maintenance-free battery. You pay nothing for its capacity, nothing for its replacement, and it never degrades. Deliberately giving that up in a city with grid access is an expensive preference. When off-grid genuinely makes sense. A farmhouse or plot with no connection, where the alternative is paying for a line extension. A remote site where connection cost exceeds the battery cost. Situations where grid supply is so unreliable that it is functionally absent rather than merely irregular. If you are in one of those situations, off-grid is not a mistake; it is the correct engineering answer. What people usually actually want when they ask about off-grid. In our experience the underlying wish is nearly always backup during power cuts, not independence from the grid. Those are different problems with different solutions. A hybrid system, grid-tied with a battery, keeps critical loads running through outages while retaining net metering and the subsidy on the solar portion. It costs more than plain grid-tied because the battery is unsubsidised, but far less than going fully off-grid. The sales angle to watch for. Off-grid and battery-heavy systems carry higher margins. If a salesperson is steering you towards off-grid without asking about your grid reliability, or is suggesting the subsidy still applies, treat that as a reason to get another quote. Our recommendation, stated plainly. If you have a grid connection in Delhi NCR, install grid-tied and take the subsidy. If power cuts genuinely disrupt your household, specify a hybrid inverter and add a battery sized to your critical loads only. Reserve off-grid for sites that genuinely have no other option. We say this running a directory that lists battery suppliers. A directory that only ever says yes would not be worth reading. | 19 | FALSE
300-units-free-electricity-explained | Subsidy | What "300 units of free electricity" actually means | The PM Surya Ghar scheme is frequently described as providing 300 units of free electricity per month. That phrase gets repeated in a lot of coverage and it causes a specific misunderstanding worth clearing up: the government is not giving you 300 free units. Your own roof is generating them. Here is what the phrase actually describes. A 3 kW rooftop system in Indian conditions generates roughly 300 to 400 units a month averaged across the year. A household consuming around 300 units a month will therefore find its bill reduced to near zero once such a system is running with net metering. The "free electricity" is the electricity your panels produce, which you no longer buy from the DISCOM. What the government provides is the subsidy that makes installing that system affordable: Rs 30,000 per kW for the first 2 kW plus Rs 18,000 for the third, capped at Rs 78,000. Delhi and Uttar Pradesh add state top-ups that can take the total past Rs 1 lakh. That is the assistance. The units come from the sun. Why this distinction matters practically. If your household consumes 600 units a month, a 3 kW system will not zero your bill. It will roughly halve it. Understanding this prevents the disappointment of expecting free power and receiving a reduced bill instead. Run our solar calculator with your actual consumption rather than relying on the headline. The role of net metering in making it work. Your generation and consumption rarely coincide. Panels produce most at midday; households often consume most in the evening. Net metering resolves this by crediting exported surplus against later imports. Without it, you would only benefit from what you happened to use while the sun was shining. This is also why off-grid systems are excluded from the scheme. What still appears on your bill. Fixed charges generally remain regardless of consumption. Your bill goes to near zero on the energy component, not to literally zero. This is normal and not a sign that something has gone wrong. Seasonal reality. Generation drops during the monsoon and during heavy winter smog in Delhi NCR, and peaks in the clear months. A system that zeroes your bill in October may not in July. Annual averages are what matter for payback; monthly variation is expected. What happens to surplus you never use. Monthly surplus credits typically carry forward. At annual settlement, any remaining surplus is compensated at a rate set by your state regulator, which is generally lower than the retail tariff you pay for imported units. This is a good reason to size close to your consumption rather than well above it: the last few kilowatts of an oversized system pay back slowly. The honest summary. The scheme makes it affordable to install a system that can cover a typical household's consumption. For a home using around 300 units a month, that genuinely does mean a near-zero energy bill, which is a remarkable outcome. For a home using considerably more, it means a substantially reduced bill, which is still excellent. Neither is free electricity from the government, and understanding that difference is the mark of someone who will not be oversold. | 20 | FALSE
best-solar-panel-brands-india | Buying | Best solar panel brands in India 2026 — an honest comparison | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Compare the DCR-compliant panel brands a Delhi NCR homeowner will actually be offered, without shilling for any one. This guide must answer: - Which brands are DCR-compliant and widely available in NCR right now? - How do warranty terms (performance + product) differ by brand? - What price tiers exist and is the premium worth it for a home? - How do you verify a brand claim written on a quotation? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current brand availability, per-brand warranty specifics, and DCR status. Do not name a 'best' brand without checking each maker's current lineup. | 21 | FALSE
solar-panel-cleaning-cost-delhi-ncr | Maintenance | How much does solar panel cleaning cost in Delhi NCR? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Put a real per-clean and per-year cost on cleaning, given NCR's dust and pollution. This guide must answer: - What does one cleaning visit typically cost in NCR? - How often is cleaning actually needed here vs cleaner-air cities? - How much output do you lose if you skip it? - DIY vs a service — when is each sensible? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Actual local cleaning-service prices from your own dealers. This is exactly the local number a national site cannot fake. | 22 | FALSE
solar-panel-maintenance-yearly | Maintenance | Solar panel maintenance — what you actually do each year | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A plain yearly maintenance checklist so owners know solar is low-effort, not zero-effort. This guide must answer: - What are the routine tasks and how often (cleaning, inverter check, monitoring)? - What can you do yourself vs what needs a technician? - Is an annual maintenance contract worth it? - What early-warning signs mean output is dropping? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Local AMC price ranges and what they include. | 23 | FALSE
solar-winter-smog-delhi | Basics | Does rooftop solar work during Delhi winter smog? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Answer the anxiety directly: yes, but with a measurable seasonal dip. This guide must answer: - How much does generation actually drop during peak smog months? - Why does it drop — reduced irradiance vs soiling? - Does more frequent cleaning help in winter? - How does this affect annual payback maths? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Real generation-drop percentages for NCR winter; keep claims ranged, not precise, unless sourced. | 24 | FALSE
solar-monsoon-generation-loss | Basics | Monsoon and solar — how much generation you actually lose | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Set honest expectations for the monsoon dip so owners don't panic. This guide must answer: - What's the typical monsoon generation loss vs annual average? - Do panels still produce on overcast days? - Does rain help by cleaning panels? - Why annual average, not monthly, is what matters for payback. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Monsoon loss figures for the region. | 25 | FALSE
solar-summer-heat-derating | Basics | Solar panel efficiency in Indian summer heat — the derating problem | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Explain the counter-intuitive point that extreme heat slightly reduces panel efficiency. This guide must answer: - Why do panels lose efficiency as they get hotter? - How much output is lost to heat derating in an Indian summer? - Does more sun still mean more generation overall in summer? - Does mounting/airflow reduce the effect? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Typical temperature-coefficient impact; keep technical claims sourced. | 26 | FALSE
bifacial-solar-panels-home | Buying | Bifacial solar panels — worth the extra cost for a home? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Honest take on whether bifacial is worth it on a typical residential terrace. This guide must answer: - What are bifacial panels and how do they gain extra output? - Do rooftop conditions actually let a home benefit from the rear side? - What's the price premium vs the realistic extra generation? - When does it make sense and when is it marketing? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current bifacial price premium and realistic rooftop gain figures. | 27 | FALSE
solar-panel-technology-compared | Buying | Mono PERC vs TOPCon vs thin film — panel technology in plain words | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Demystify the panel-technology jargon a buyer will hear on sales calls. This guide must answer: - What actually differs between mono PERC, TOPCon and thin film? - Which dominates the DCR residential market now? - Do the efficiency differences matter for a home buyer? - Which should a typical NCR homeowner default to? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current tech mix and efficiency ranges available under DCR. | 28 | FALSE
can-you-run-ac-on-solar | Basics | Can you run an AC on rooftop solar? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Answer the single most common homeowner question about solar and cooling. This guide must answer: - How much system capacity does running an AC need? - Does net metering make this work even when the AC runs at night? - What size system suits a home with 1-2 ACs? - What about backup during a cut while the AC is running? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: AC load figures and sizing maths — cross-link the sizing calculator. | 29 | FALSE
solar-for-rented-house | Basics | Solar for a rented house — what tenants and landlords can do | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Practical options when the person who pays the bill doesn't own the roof. This guide must answer: - Can a tenant install and who claims the subsidy? - What arrangements work between tenant and landlord? - What happens to the system when the tenant leaves? - Is a portable or non-subsidised option ever sensible here? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Subsidy eligibility rules for non-owners. | 30 | FALSE
solar-on-builder-floor | Society | Solar on a builder floor — shared roof rights and consent | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Untangle the roof-rights question that decides whether builder-floor solar is even possible. This guide must answer: - Who owns the terrace on a builder floor and were rights sold with the unit? - What consent do you need from other floor owners? - How does the subsidy apply when roof rights are shared? - What are the realistic routes if rights are unclear? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Local builder-floor roof-rights norms in NCR. | 31 | FALSE
tin-shed-sheet-roof-solar | Sizing | Tin shed and sheet roof solar — what changes | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: What's different about mounting solar on a sheet or tin-shed roof. This guide must answer: - What mounting structure does a sheet roof need? - Does it cost more than a concrete terrace install? - What load and fixing checks matter? - Any leak or corrosion risks to plan for? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Structure cost delta for sheet roofs locally. | 32 | FALSE
solar-structure-elevated-mounting | Sizing | Solar structure height — elevated mounting and when you need it | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: When raising the panel structure above obstructions is worth the extra cost. This guide must answer: - What problems does elevated mounting solve (tank shade, parapet, usable area)? - How much does it add to cost? - What structural assessment does it need? - When is it essential vs nice-to-have? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Elevated-mounting cost premium locally. | 33 | FALSE
solar-site-survey-checklist | Buying | What a solar site survey should cover | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Tell buyers what a proper survey looks like so they can spot a lazy one. This guide must answer: - What should a real site survey check (shading, structure, cabling, meter)? - How is shading assessed across the day? - What red flags mean the surveyor is guessing? - Why a firm quote without a survey is unreliable. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Nothing needs external verification — this is process knowledge, but keep it accurate. | 34 | FALSE
how-to-read-solar-quotation | Buying | How to read a solar quotation line by line | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Decode a quote so two proposals can be compared fairly. This guide must answer: - What line items should every quote contain? - Which items get quietly excluded (net metering, feasibility)? - How to compare two quotes that differ by tens of thousands? - What must be in writing (panel model, DCR, inverter, warranty)? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Process knowledge; keep figures ranged and consistent with the cost guides. | 35 | FALSE
solar-sales-red-flags | Buying | Red flags in solar sales pitches — nine things that should worry you | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A defensive checklist against high-pressure or dishonest selling. This guide must answer: - What pressure tactics signal a bad deal? - Which subsidy promises are unverifiable (esp. Haryana top-up)? - What vague panel/inverter descriptions hide? - When to walk away and get another quote. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Keep consistent with the subsidy guides on what's actually promised. | 36 | FALSE
solar-loan-bank-vs-nbfc | Money | Solar EMI and loan options — bank vs NBFC compared | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Help a buyer choose between cheaper-slower banks and faster-pricier NBFCs. This guide must answer: - What are the real rate and speed differences? - How large must the loan be for the rate gap to matter? - What does the collateral-free PSU loan actually offer? - When is speed worth paying more for? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current PSU loan rate/terms and typical NBFC rates. | 37 | FALSE
solar-loan-vs-cash | Money | Is a solar loan worth it if you can pay cash? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The honest arithmetic of borrowing vs paying upfront when you have the cash. This guide must answer: - How does the EMI compare to the monthly bill saved? - What's the opportunity cost of the cash? - How does subsidy timing affect the decision? - When does paying cash clearly win? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Loan rate and saving figures — keep consistent with the loan guide. | 38 | FALSE
solar-when-you-sell-house | Basics | What happens to solar when you sell your house | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Answer a real hesitation: is solar a stranded asset if you move? This guide must answer: - Does the system transfer with the property? - What happens to the subsidy and net-metering connection? - Does it add to resale value? - What paperwork does a buyer need? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Transfer/net-metering rules on ownership change. | 39 | FALSE
solar-panel-disposal-recycling | Basics | Solar panel disposal and recycling in India | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: What happens at end-of-life, for the environmentally-minded buyer. This guide must answer: - What's the actual lifespan before disposal is a question? - What recycling exists in India today? - Are there rules or e-waste obligations? - Is this a real concern within a 25-year horizon? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current Indian PV-recycling landscape and any regulations. | 40 | FALSE
solar-property-value-ncr | Basics | How solar affects your property value in NCR | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Whether a rooftop system helps at resale in the NCR market. This guide must answer: - Does solar measurably raise sale price or just speed the sale? - How do buyers value a subsidised system they can't re-subsidise? - Does system age/warranty-left matter to buyers? - How to present it when selling. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Any local resale-value evidence; avoid overclaiming. | 41 | FALSE
solar-meter-vs-net-meter | Basics | Solar meter vs net meter — what the DISCOM actually installs | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Clear up the metering terminology that confuses buyers. This guide must answer: - What's the difference between a solar/generation meter and a net meter? - Which does the DISCOM install and why? - How does each affect your bill? - What to confirm is being installed. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: DISCOM metering specifics per state. | 42 | FALSE
sanctioned-load-solar-capacity | Basics | Sanctioned load and solar capacity — why they must match | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Explain the sanctioned-load constraint before it blocks someone's approval. This guide must answer: - What is sanctioned load and where is it on the bill? - Why can't system size exceed it for net metering? - What if you want a bigger system — can you raise sanctioned load? - How to check this before finalising size. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Net-metering-vs-sanctioned-load rules per state. | 43 | FALSE
discom-feasibility-rejected | Subsidy | What to do if your DISCOM rejects feasibility approval | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A recovery guide for one of the more common early-stage blocks. This guide must answer: - What are the usual reasons feasibility gets rejected? - Which are fixable and how? - What role does the installer play in resolving it? - When to escalate and how. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: State-specific feasibility grounds; keep consistent with rejection-reasons guide. | 44 | FALSE
solar-generation-drop-troubleshooting | Maintenance | Solar generation drop — troubleshooting a system producing less | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A diagnostic ladder for an owner whose numbers look low. This guide must answer: - What are the common causes (soiling, shading, inverter fault, seasonal)? - How to tell normal seasonal dip from a real fault? - What can the owner check vs the technician? - When it's a warranty claim vs a maintenance issue. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Process knowledge; keep accurate. | 45 | FALSE
bird-netting-solar-panels | Maintenance | Bird netting and solar panels — a real NCR problem | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A specific, local, under-covered maintenance issue: pigeons under panels. This guide must answer: - Why is bird nesting under panels a problem (droppings, wiring, output)? - What does bird netting cost and how is it fitted? - Does it affect warranty or airflow? - Retrofit vs fit-at-install. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Local netting cost figures. | 46 | FALSE
dust-pollution-solar-output-delhi | Basics | Dust and pollution impact on solar output in Delhi | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Quantify how much NCR's air quality actually costs in generation. This guide must answer: - How much output is lost to soiling between cleanings here? - How does this compare to cleaner regions? - How often should NCR owners clean as a result? - How this feeds into realistic payback. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Soiling-loss figures for NCR. | 47 | FALSE
solar-panel-insurance-india | Money | Solar panel insurance in India — is it worth it? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Whether to insure the system against weather, theft and damage. This guide must answer: - What perils are and aren't covered by warranty already? - What does standalone/home-rider solar insurance cost? - What's the realistic risk on an NCR terrace? - When it's worth it vs not. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current insurance product availability and pricing. | 48 | FALSE
solar-amc-contracts | Maintenance | Annual maintenance contracts for solar — what to pay and expect | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Help owners judge AMC offers from installers. This guide must answer: - What should an AMC actually include? - What's a fair annual price? - AMC vs paying per-visit as needed? - What to check before signing one. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Local AMC pricing and scope. | 49 | FALSE
hybrid-solar-systems-when-worth-it | Buying | Hybrid solar systems — when the extra cost is justified | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: When paying for a hybrid inverter + battery genuinely pays off. This guide must answer: - What does a hybrid system add over grid-tied? - What's the real cost premium (unsubsidised battery)? - For whom does daily power-cut backup justify it? - Why specify a hybrid inverter even if adding the battery later? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Battery costs; keep consistent with the power-cut and off-grid guides. | 50 | FALSE
solar-battery-payback-ncr | Money | Solar plus battery payback in NCR — the honest arithmetic | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The blunt payback maths on adding an unsubsidised battery. This guide must answer: - What does a home battery cost and how long does it last? - Since it's unsubsidised, how much does it lengthen payback? - Is the value backup-convenience rather than savings? - When it's worth it despite weak payback. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Battery cost/lifespan figures; keep consistent with other guides. | 51 | FALSE
solar-water-heater-price-ncr | Water Heater | Solar water heater price in Delhi NCR 2026 | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Give a real price and payback for a solar water heater, your second-biggest category. This guide must answer: - What does a typical domestic solar water heater cost installed? - What sizes suit what family sizes? - What's the payback vs an electric geyser? - Any subsidy or incentive available? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current SWH prices and any state incentive. | 52 | FALSE
etc-vs-fpc-water-heater | Water Heater | ETC vs FPC solar water heaters — which suits NCR winters | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The core buying decision between the two water-heater technologies. This guide must answer: - How do ETC and FPC differ in build and performance? - Which handles NCR winter and water quality better? - What's the price difference? - Which to default to locally. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Tech comparison specifics; keep accurate. | 53 | FALSE
solar-water-heater-vs-geyser | Water Heater | Solar water heater vs electric geyser — five year cost comparison | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A head-to-head running-cost comparison over five years. This guide must answer: - Upfront cost of each? - Running-cost difference over five years? - How winter performance changes the maths? - When a geyser is still the better call? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Electricity-cost assumptions; state them plainly. | 54 | FALSE
solar-water-heater-maintenance | Water Heater | Solar water heater maintenance and winter servicing | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The upkeep owners actually need to do. This guide must answer: - What routine maintenance does an SWH need? - What winter-specific servicing matters in NCR? - How does hard water affect it? - DIY vs service. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Local servicing norms. | 55 | FALSE
solar-water-heater-size-lpd | Water Heater | What LPD size solar water heater does your family need? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A simple sizing guide by household size. This guide must answer: - How is SWH size (LPD) matched to family size? - What usage patterns change the answer? - How does climate affect sizing here? - A quick sizing rule of thumb. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Standard LPD sizing ratios. | 56 | FALSE
rainwater-harvesting-cost-ncr | Rainwater | Rainwater harvesting cost for a Delhi NCR home | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A real installed cost for a home RWH system, using the ~790mm NCR rainfall figure. This guide must answer: - What does a home recharge/storage system cost? - What drives the cost (plot size, pit vs tank)? - What can a home realistically harvest at ~790mm/yr? - Payback via water savings or just compliance? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Local RWH installer prices; the 790mm rainfall figure is on record. | 57 | FALSE
rainwater-harvesting-mandatory-gurugram-faridabad | Rainwater | Is rainwater harvesting mandatory in Gurugram and Faridabad? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Answer the compliance question that drives most RWH searches. This guide must answer: - Is RWH legally required, and above what plot size? - How does it differ across Gurugram, Faridabad, Delhi, Noida? - What are the penalties or approval links? - How to comply cheaply if mandated. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current municipal RWH rules per local body — these vary and change; verify each. | 58 | FALSE
rainwater-harvesting-tax-rebate-ncr | Rainwater | Rainwater harvesting property tax rebate — which NCR bodies offer it | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The money angle: which municipalities give a property-tax rebate. This guide must answer: - Which NCR bodies offer an RWH property-tax rebate and how much? - How do you claim it? - What proof of a working system is needed? - Does the rebate offset install cost meaningfully? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current rebate schemes per municipal body — verify each, these change. | 59 | FALSE
recharge-pit-vs-storage-tank | Rainwater | Recharge pit vs storage tank — choosing for your plot | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The core RWH design decision for a homeowner. This guide must answer: - What's the difference and what does each achieve? - Which suits recharging groundwater vs reusing water? - How does plot size and soil decide it? - Cost and maintenance of each. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Design knowledge; keep accurate. | 60 | FALSE
rainwater-harvesting-societies | Rainwater | Rainwater harvesting for housing societies — design and cost | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The society-scale version, which is where the bigger impact is. This guide must answer: - How does society-scale RWH differ from a home system? - What does it cost and who pays? - What approvals and design does it need? - How to get it moving via the RWA. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Society RWH cost ranges locally. | 61 | FALSE
rainwater-harvesting-maintenance | Rainwater | Rainwater harvesting maintenance before every monsoon | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The pre-monsoon upkeep that keeps a system working. This guide must answer: - What must be cleaned/checked before the monsoon? - What happens if you skip it? - DIY vs professional? - A simple annual checklist. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Maintenance knowledge; keep accurate. | 62 | FALSE
home-ev-charger-cost-ncr | EV | Home EV charger installation cost in Delhi NCR | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A real installed cost for a home charger — ties to your EV interest. This guide must answer: - What does a home AC charger cost installed? - What wiring/load upgrades might be needed? - AC vs DC for a home? - Any subsidy or DISCOM scheme? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current home-charger prices and any incentive. | 63 | FALSE
ac-vs-dc-home-charging | EV | AC vs DC charging at home — what your car actually needs | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Clear up the AC/DC confusion for a first-time EV owner. This guide must answer: - What's the practical difference for home use? - What does a typical car actually need at home? - When is DC ever justified at home? - How charge speed maps to daily driving. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Technical basics; keep accurate. | 64 | FALSE
ev-charging-tariff-delhi-haryana-up | EV | EV charging tariff in Delhi, Haryana and UP — DISCOM rates compared | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The per-unit cost of charging at home across the three states. This guide must answer: - What are the EV/home tariffs in each state? - Is there a special EV tariff slab? - How does time-of-day pricing affect cost? - Cheapest way to charge at home. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current DISCOM EV tariffs per state — verify, these change. | 65 | FALSE
society-ev-charger-rights | EV | Can your society stop you installing an EV charger? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The rights question every apartment EV owner hits. This guide must answer: - Can an RWA legally refuse a home charger? - What do model bye-laws / rules say? - How to get society approval smoothly? - Shared vs private charging point options. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current rules/model bye-laws on society EV charging. | 66 | FALSE
charging-ev-from-solar | EV | Charging an EV from rooftop solar — does it work? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Combine two of your categories: solar + EV. This guide must answer: - Can rooftop solar realistically charge an EV? - What extra system size does an EV add? - Does net metering make daytime/nighttime charging work? - Is the combined economics attractive? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Sizing maths; keep consistent with solar sizing guides. | 67 | FALSE
ev-charger-safety-wiring | EV | EV charger safety — wiring, load and earthing basics | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The safety essentials so a home install doesn't become a hazard. This guide must answer: - What wiring/earthing does a home charger need? - How to check your load can take it? - What certifies a safe install? - Warning signs of an unsafe setup. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Electrical-safety standards; keep accurate. | 68 | FALSE
lithium-vs-lead-acid-home-battery | Battery | Lithium vs lead acid battery for home backup in India | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The core home-battery buying decision. This guide must answer: - How do lithium and lead-acid differ on life, cost, maintenance? - What's the real cost-per-year of each? - Which suits Indian conditions? - When lead-acid still makes sense. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current battery prices/lifespans. | 69 | FALSE
sizing-home-battery-power-cuts | Battery | How to size a home battery for power cuts | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Stop people over-sizing (and overspending on) batteries. This guide must answer: - How to size a battery to critical loads only? - What loads should and shouldn't be on backup? - How cut duration and frequency change sizing? - A simple sizing method. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Load/sizing figures; keep consistent with power-cut guide. | 70 | FALSE
inverter-battery-vs-solar-battery | Battery | Inverter battery vs solar battery — they are not the same | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Clear up a genuine and costly confusion. This guide must answer: - How do a normal inverter battery and a solar battery differ? - Can an existing inverter battery be charged by solar? - What do you need for each setup? - Which does a given household actually want? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Technical distinction; keep accurate and consistent with power-cut guide. | 71 | FALSE
home-biogas-cost-payback | Biogas | Home biogas plant cost and payback in India | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Real cost and payback for a home biogas unit. This guide must answer: - What does a small home biogas plant cost? - How much cooking gas can it realistically offset? - What space and feedstock does it need? - Is the payback attractive for a home? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current home-biogas prices and gas-offset figures. | 72 | FALSE
kitchen-waste-for-biogas | Biogas | How much kitchen waste do you need for a home biogas unit | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The practical feedstock question that decides feasibility. This guide must answer: - How much daily waste feeds a home unit? - Can an average household actually supply that? - What waste works and what doesn't? - What output that yields. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Feedstock-to-output ratios. | 73 | FALSE
biogas-for-housing-society | Biogas | Biogas for a housing society — is it practical? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Society-scale biogas from canteen/garden waste. This guide must answer: - Where does society-scale biogas make sense? - What waste volume and space does it need? - Cost and who operates it? - Realistic pros and cons vs composting. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Society biogas cost ranges. | 74 | FALSE
home-composting-setup-cost | Compost | Home composting setup cost — khamba, tumbler and OWC compared | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Compare the common home composting options on cost and effort. This guide must answer: - What do khamba, tumbler and small OWC cost? - How much effort and space does each need? - Which suits a flat vs a house? - Which to start with. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current product prices. | 75 | FALSE
society-composting-mandatory-ncr | Compost | Is on-site composting mandatory for NCR housing societies? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The compliance driver for society composting searches. This guide must answer: - Is on-site wet-waste composting mandated, and above what size? - How does it vary across NCR bodies? - Penalties for non-compliance? - Cheapest compliant route. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current municipal bulk-waste rules per body — verify, these change. | 76 | FALSE
society-composting-owc-sizing | Compost | Society composting — sizing an OWC for your daily wet waste | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The practical sizing question for a society committee. This guide must answer: - How to size an OWC to daily wet-waste volume? - What throughput do common units handle? - Space, power and operator needs? - Cost bands by size. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: OWC sizing/throughput and price bands. | 77 | FALSE
cool-roof-coating-cost-ncr | Roofing | Cool roof coating cost per square foot in Delhi NCR | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A real per-sqft cost for cool-roof coating. This guide must answer: - What does cool-roof coating cost per sqft installed? - How long does a coat last before redoing? - DIY vs professional application? - Payback via AC savings. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Local coating prices per sqft. | 78 | FALSE
cool-roof-ac-bill-savings | Roofing | Does a cool roof actually reduce your AC bill — real numbers | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Test the claim with honest numbers rather than marketing. This guide must answer: - How much can a cool roof cut roof-surface temperature? - What AC-bill saving does that translate to? - For whom does it work best (top floor)? - When it's not worth it. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Temperature/saving figures; keep ranged unless sourced. | 79 | FALSE
green-roof-vs-cool-roof | Roofing | Green roof vs cool roof — cost, structure and maintenance | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Compare the two roofing approaches honestly. This guide must answer: - How do green roofs and cool roofs differ in cost and effect? - What structural load does a green roof need? - Maintenance burden of each? - Which suits an NCR home. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Cost and structural figures. | 80 | FALSE
greywater-recycling-cost-india | Greywater | Greywater recycling cost for an Indian home | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Cost and practicality of reusing household greywater. This guide must answer: - What does a home greywater system cost? - What can recycled greywater be used for? - What space and maintenance does it need? - Is the water saving worth it? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current greywater-system prices. | 81 | FALSE
bses-vs-tata-power-delhi-solar | Local | BSES vs Tata Power Delhi — solar process compared | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Compare the solar application experience across Delhi's DISCOMs. This guide must answer: - How do BSES and Tata Power Delhi differ in solar processing? - Any difference in timelines or portals? - What's each one's net-metering process like? - Which is smoother in practice? Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current DISCOM-specific processes. | 82 | FALSE
uhbvn-vs-dhbvn-coverage | Local | UHBVN vs DHBVN — which covers your Haryana address | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A simple 'which DISCOM am I under' guide for Haryana. This guide must answer: - How to tell which DISCOM covers your address? - What areas fall under each? - Why it matters for solar/net metering? - Where to confirm on the bill. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Coverage boundaries; keep consistent with the Haryana subsidy guide. | 83 | FALSE
solar-faridabad-sector-by-sector | Local | Solar in Faridabad sector by sector — shading and roof realities | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Hyper-local content only you can write, using on-the-ground knowledge. This guide must answer: - Which sectors have roof/shading characteristics worth noting? - Where are independent houses vs apartments concentrated? - Any sector-specific DISCOM or approval quirks? - Local installer availability. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Your own local knowledge and dealer input — this is the moat a national site can't copy. | 84 | FALSE
green-building-rules-ncr | Local | Green building rules for new construction in NCR | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: What builders/owners must include (solar, RWH) in new construction. This guide must answer: - What green mandates apply to new NCR construction? - Above what plot/built-up size? - Which of solar, RWH, etc. are required? - How they vary by body. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current green-building bye-laws per body — verify, these change. | 85 | FALSE
delhi-electricity-tariff-slabs | Local | Delhi electricity tariff slabs explained — and where solar helps most | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Explain the tariff so people see where solar saves the most. This guide must answer: - What are the current Delhi domestic tariff slabs? - How do fixed vs energy charges work? - At what consumption does solar help most? - How the 300-free-units framing fits. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current Delhi tariff slabs — verify, these change. | 86 | FALSE
haryana-electricity-tariff-2026 | Local | Haryana electricity tariff 2026 — what you actually pay per unit | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The per-unit reality for Haryana homes. This guide must answer: - What are the current Haryana domestic slabs? - Fixed vs energy charge split? - How it compares to Delhi/UP? - Where solar payback is strongest. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current Haryana tariff — verify. | 87 | FALSE
up-electricity-tariff-noida-ghaziabad | Local | UP electricity tariff for Noida and Ghaziabad homes | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The per-unit reality for UP-side NCR homes. This guide must answer: - Current UP domestic slabs for these areas? - Fixed vs energy split? - How the UPNEDA subsidy plus tariff shapes payback? - Where solar helps most. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current UP tariff — verify. | 88 | FALSE
pre-monsoon-solar-checklist | Seasonal | Pre-monsoon checklist for your rooftop solar system | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A seasonal maintenance piece to publish in May. This guide must answer: - What to check before the monsoon (mounting, drainage, cabling)? - How to prep for reduced generation? - Safety checks after storms? - A dated checklist. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Maintenance knowledge; publish to a May calendar slot. | 89 | FALSE
winter-solar-performance-ncr | Seasonal | Winter solar performance in NCR — what to expect | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Set winter expectations; publish in November. This guide must answer: - How much does winter smog/low sun cut output? - What's normal vs a fault? - Does winter cleaning help? - Reassurance on annual averages. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Winter generation figures; keep consistent with the smog guide. | 90 | FALSE
summer-ac-load-solar-offset | Seasonal | Summer AC load — how much solar offsets it | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Publish in April as AC season starts. This guide must answer: - How much of a summer AC bill can solar offset? - How heat derating affects summer output? - Sizing implications for AC-heavy homes? - Realistic summer savings. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: AC-load and offset figures; keep consistent with sizing guides. | 91 | FALSE
post-monsoon-rainwater-cleanout | Seasonal | Post-monsoon rainwater system cleanout | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Publish in September; ties to your RWH category. This guide must answer: - What to clean/inspect after the monsoon? - Why silt and debris matter? - DIY steps vs professional? - A dated checklist. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Maintenance knowledge; September calendar slot. | 92 | FALSE
solar-vs-inverter-vs-generator | Compare | Solar vs inverter vs generator — running cost compared | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A decision guide across three ways people deal with power/backup. This guide must answer: - What does each actually solve (bill vs backup)? - Running-cost comparison over time? - Which combination suits which home? - Why solar + existing inverter is often the answer. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Running-cost figures; keep consistent with power-cut guide. | 93 | FALSE
solar-water-heater-vs-heat-pump | Compare | Solar water heater vs heat pump for Indian homes | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A head-to-head for water heating. This guide must answer: - How do SWH and heat pump differ on cost and running cost? - Which suits NCR climate? - Space and maintenance of each? - Which to pick for a given home. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Cost/running-cost figures. | 94 | FALSE
green-upgrades-fastest-payback-ranked | Compare | Which green upgrade gives the fastest payback — all ten ranked | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A flagship comparison ranking all your categories by payback. This guide must answer: - What's the payback order across solar, SWH, RWH, cool roof, etc.? - What assumptions drive the ranking? - Which to do first on a budget? - Caveats where local factors change it. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Payback figures per category — build only after the individual guides are written and verified. | 95 | FALSE
one-lakh-green-budget | Compare | ₹1 lakh to spend on going green — what to buy first | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A budget-led decision guide, very shareable. This guide must answer: - What's the best green spend at Rs 1 lakh? - How to sequence multiple small upgrades? - Where solar fits at that budget? - What to skip. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Prices per option; keep consistent with category guides. | 96 | FALSE
fifty-thousand-green-budget | Compare | ₹50,000 budget — the cheapest green upgrades that actually pay back | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: The lower-budget version — high share potential. This guide must answer: - What green upgrades fit under Rs 50k? - Which actually pay back vs feel-good? - Best single buy at that budget? - What to save up for instead. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Prices per option; keep consistent. | 97 | FALSE
renting-vs-buying-solar-leasing | Compare | Renting vs buying solar — is leasing available in India? | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: Answer whether solar leasing/RESCO is a real option for homes here. This guide must answer: - Is home solar leasing/RESCO actually available in India? - How does it compare to buying with subsidy? - Who is leasing suitable for? - What to watch in a lease contract. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Current availability of residential solar leasing/RESCO models. | 98 | FALSE
spot-fake-solar-subsidy-agent | Trust | How to spot a fake solar subsidy agent | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A trust/safety guide that builds your credibility and shares well. This guide must answer: - What scams exist around the subsidy? - What does a legitimate process never ask for? - How to verify a portal-registered installer? - What to do if targeted. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Keep consistent with the official process guides; cite pmsuryaghar.gov.in. | 99 | FALSE
green-energy-myths-india | Trust | Green energy myths in India — twelve claims fact-checked | DRAFT — outline only. Do not publish until the figures below are verified. Keep this guide inactive until it is written. Angle: A myth-busting listicle spanning all your categories. This guide must answer: - Which common claims about solar/RWH/EV are false or exaggerated? - What's the accurate version of each? - Which myths cost people money? - Sources for the corrections. Writing rules: answer the question in the first two sentences, put a real number in the opening paragraph, name the specific city or DISCOM where the answer varies, and link to two related guides and the relevant category page. Verify before publishing: Fact-check each myth against verified sources before publishing. | 100 | FALSE

## READ ME
RenSetu — Guides import file (100 guides)
HOW TO IMPORT
Admin -> Guides -> Import -> choose this file -> format xlsx -> Submit -> Confirm.
It matches on the 'slug' column: an existing slug is updated, a new slug is created.
The importer reads the FIRST sheet ('Guides'). This READ ME sheet is ignored.
NOTHING GOES LIVE ON IMPORT
Every row has is_active = FALSE on purpose. Importing publishes nothing.
To publish a guide, set its is_active to TRUE — either in this sheet before importing,
or later in admin (Guides list, the is_active checkbox is editable inline).
Publish 2-4 a month, not all at once. A new site dumping 20 posts in a week looks
unnatural to Google; spread over months it reads as steady, authentic publishing.
THE TWO ROW TYPES (shown by colour)
GREEN rows (1-20): fully written, figures verified July 2026. Publish-ready.
Set is_active TRUE when you want one live. These are your Tier-1 priority guides.
AMBER rows (21-100): OUTLINES ONLY. The body is an angle + the questions the guide
must answer + what to verify. They are NOT finished text. Do not set these TRUE
until you have written them and checked the local numbers. Publishing invented
figures on a site that advises people about money is the one thing that kills trust.
COLUMNS
slug: unique, lowercase-with-hyphens. This is the match key — do not duplicate.
tag: small label (Costs / Subsidy / Basics / Buying / EV / Rainwater ...).
title: the guide headline, written roughly as people search.
body: paragraphs separated by a blank line — the template splits on the blank line.
order: sort order in admin (lower = higher). Adjust freely.
is_active: TRUE = live on the site, FALSE = hidden. All start FALSE.
RE-CHECK ALL SUBSIDY AND PRICE FIGURES EACH APRIL. Verify at pmsuryaghar.gov.in.